## 01.622
SHUT OFF
Body: stainless steel o-ring: FKM
Products |  |  | Specification text | Specification text with size
SERIE | Code | Dimension
01.02 INOX | 01.622 | DN 15 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. DN15. Brandoni type.
01.02 INOX | 01.622 | DN 20 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. DN20. Brandoni type.
01.02 INOX | 01.622 | DN 25 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. DN25. Brandoni type.
01.02 INOX | 01.622 | DN 32 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. DN32. Brandoni type.
01.02 INOX | 01.622 | DN 40 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. DN40. Brandoni type.
01.02 INOX | 01.622 | DN 50 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN40. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 40 bar. Available: actuators or gear box. In accordance with PED directive. DN50. Brandoni type.
01.02 INOX | 01.622 | DN 65 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN16. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN16. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. DN65. Brandoni type.
01.02 INOX | 01.622 | DN 80 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN16. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN16. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. DN80. Brandoni type.
01.02 INOX | 01.622 | DN 100 | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN16. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Wafer ball valve with floating ball and full bore, body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Integrated flange in accordance with ISO 5211. Flanges EN 1092 PN16. No standardized face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. DN100. Brandoni type.

## 02.622
SHUT OFF
Body: stainless steel o-ring: FKM
Products |  |  | Specification text | Specification text with size
SERIE | Code | Dimension
01.02 INOX | 02.622 | DN 15 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 15.
01.02 INOX | 02.622 | DN 20 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 20.
01.02 INOX | 02.622 | DN 25 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 25.
01.02 INOX | 02.622 | DN 32 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 32.
01.02 INOX | 02.622 | DN 40 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 40.
01.02 INOX | 02.622 | DN 50 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 50.
01.02 INOX | 02.622 | DN 65 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 65.
01.02 INOX | 02.622 | DN 80 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device.Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device.Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 80.
01.02 INOX | 02.622 | DN 100 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 100.
01.02 INOX | 02.622 | DN 125 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistitic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistitic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 125.
01.02 INOX | 02.622 | DN 150 | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. | Flanged ball valve split body with floating ball and full bore, Body in stainless steel. Ball and stem in AISI316. Ball seat in reinforced PTFE and o-ring in FKM. Lockable lever. Antistatic device. Integrated flange in accordance with ISO 5211. Flanges EN 1092/1 PN16. EN558/1 face to face. Temperature: -25°C ÷ 150°C. Pmax 16 bar. Available: actuators or gear box. In accordance with PED directive. Brandoni type. DN 150.
01.02 INOX | 02.622 | DN 200 | on request | on request